UC-S2-03

# Define Synthetic Dataset Assumptions and Reference Version

Sprint 2 Deliverable: Synthetic Data Design and documented known-reference dataset

Dataset: Underground Cable Synthetic data(2).csv  |  5,000 records  |  21 fields

Reference version preserved An exact copy of the supplied complete dataset has been preserved as UC-S2-03_Underground_Cable_Complete_Reference_v1.csv. It contains 5,000 rows, 21 fields and no missing values. All future missingness experiments should be made on copies, never on this reference file.

# 1. Reference dataset record

| Item | Recorded value |
| --- | --- |
| Reference file | UC-S2-03_Underground_Cable_Complete_Reference_v1.csv |
| Source file | Underground Cable Synthetic data(2).csv |
| Rows / columns | 5,000 / 21 |
| Missing values | 0 |
| Duplicate rows | 0 |
| Unique asset IDs | 5,000 |
| SHA-256 checksum | 6398cbaf2df0d4ddbf280539fe1551f3c51ba1211ca1b07484dafde9f545730c |
| Interpretation | Synthetic test data only; not real SAPN asset data |

# 2. Observed distributions in the supplied synthetic data

| Field | Observed range | Summary |
| --- | --- | --- |
| installation_year | 1950–2026 | Mean 1997.1; median 2000 |
| asset_age_years | 0–76 years | Mean 28.9; median 26.0 |
| cable_length_m | 15–1,800 m | Mean 207.7; median 165.7 |
| joint_count | 0–9 | Mean 1.13; median 1 |
| groundwater_depth_m | 1.16–11.43 m | Mean 6.60; median 6.67 |
| groundwater_exposure_score | 0.240–0.943 | Mean 0.580 |
| corrosion_exposure_score | 0.121–0.984 | Mean 0.557 |

| Categorical field | Observed distribution |
| --- | --- |
| rated_voltage_kv | 11: 3,849 (77.0%); 33: 1,151 (23.0%) |
| insulation_type | XLPE: 3,720 (74.4%); PILC: 1,280 (25.6%) |
| conductor_material | Aluminium: 3,183 (63.7%); Copper: 1,817 (36.3%) |
| core_count | 1: 3,077 (61.5%); 3: 1,923 (38.5%) |
| installation_method | Duct/Conduit: 3,833 (76.7%); Direct Buried: 1,167 (23.3%) |
| groundwater_indicator | Medium: 4,203 (84.1%); High: 624 (12.5%); Low: 173 (3.5%) |
| corrosion_indicator | Medium: 4,103 (82.1%); High: 495 (9.9%); Low: 402 (8.0%) |

# 3. Observed construction relationships and assumptions

| Feature | Interpretation | Evidence from supplied file |
| --- | --- | --- |
| Asset age | Exact derived field | asset_age_years = 2026 − installation_year for all 5,000 records. This implies a 2026 reference year in the synthetic design. |
| Cable type text | Composite raw field | cable_type_raw encodes conductor size, core count, conductor material, insulation type and voltage consistently in all rows checked. |
| Coordinates and route | Derived spatial representation | latitude/longitude match the midpoint of route_geometry_wkt to within about 5.0e-07 degrees. |
| Groundwater indicator | Categorised derived field | Low/Medium/High tracks groundwater_exposure_score, with observed category transitions around scores 0.4 and 0.7. Exact thresholds cannot be proven from rounded values alone. |
| Corrosion indicator | Categorised derived field | Low/Medium/High tracks corrosion_exposure_score, again with observed transitions around 0.4 and 0.7. |
| Groundwater exposure | Synthetic relationship | groundwater_depth_m is strongly inversely related to groundwater_exposure_score (r = -0.900). |
| Corrosion exposure | Synthetic relationship | corrosion_exposure_score is positively related to groundwater_exposure_score (r = 0.673); installation method also changes the average corrosion score. |

# 4. How the dataset should be interpreted

Known reference, not production truth: The file is suitable for testing pipeline logic because the original values are complete and known. Results should not be presented as actual SAPN performance.

Derived fields require deterministic rules first: When a credible source variable exists, use derivation before statistical imputation. Examples are age from installation year and categorical indicators from exposure scores.

Predictor leakage must be controlled: A test is invalid if the target can be exactly reconstructed from a duplicate/parent field that was left unmasked.

Asset-level rows are mostly static: The dataset is an asset-register-style snapshot, not a time-series dataset.

No direct failure outcome is present: The current file contains no failure date/status or observed PoF target. It can test field reconstruction, but downstream Weibull/PoF impact will require a separate synthetic failure outcome, a proxy risk calculation, or later SAPN data.

# 5. Proposed controlled missingness design

| Priority target | Masking rule | Validation |
| --- | --- | --- |
| asset_age_years | Mask asset_age_years and, for a genuine imputation experiment, also mask installation_year for the same rows. Keep an alternative “derivation test” where installation_year remains visible and age is reconstructed deterministically. | Numeric metrics: MAE, RMSE; distribution checks; age-band movement. |
| groundwater_indicator | Mask groundwater_indicator and groundwater_exposure_score together when testing imputation. Use groundwater_depth_m, latitude/longitude, installation_method and engineering fields as predictors. | Categorical metrics: accuracy/F1; confusion matrix; class-distribution stability. |
| corrosion_indicator | Mask corrosion_indicator and corrosion_exposure_score together when testing imputation. Use groundwater fields, installation_method, location and engineering attributes. | Categorical metrics: accuracy/F1; confusion matrix; class-distribution stability. |

Recommended masking scenarios: start with controlled 10%, 20% and 30% missingness versions. Use an MCAR-style random mask first for method benchmarking, then add structured masks that depend on observable groups (for example feeder, age band or installation method) to test sensitivity. Clearly label every generated file and preserve the same random seed/version metadata.

# 6. Key limitations of this synthetic reference

The dataset is fully complete, so it does not reveal the real missingness mechanisms expected in SAPN data.

Several relationships are deterministic or unusually clean, which can make imputation look easier than it will be on real asset records.

High-cardinality spatial/text fields can leak information or cause overfitting if used without careful preprocessing.

Indicator boundaries are inferred from rounded displayed scores; exact synthetic-generation thresholds are not available in the CSV itself.

The categorical variety is limited (for example two voltage levels, two insulation types and two installation methods), so the data may not reflect the full SAPN fleet.

There is no failure history/outcome field, so this file alone cannot validate Weibull parameters or real PoF predictions.

External environmental values are synthetic/constructed for method testing and should not be interpreted as measured site conditions.

# 7. Version-control and audit rules

Keep UC-S2-03_Underground_Cable_Complete_Reference_v1.csv read-only as the known truth set.

Create separate masked files for each target, missingness level and missingness mechanism.

Record random seed, masking rule, target field, fields intentionally co-masked and date/version for every experiment.

Never overwrite observed reference values with imputed values; export imputed values and a value-status/confidence field separately.

When real SAPN data becomes available, repeat profiling and do not assume these synthetic distributions or relationships hold.

UC-S2-03 completion status Done when: a complete reference dataset and documented assumptions are available. The complete reference copy is preserved separately, and this document records the observed distributions, relationships, interpretation rules, leakage controls, limitations and proposed masking design.